## Index
BEGHELLI GENERAL LIGHTING PRICE LIST
EFFECTIVE JULY 6, 2026
VAPOR TIGHTS |  | WALLPACKS |  | HAZARDOUS
| BS101LED ILLUMINA |  | MONTANTE (MNT) |  | CASTEX HZCAS100
| BS101LEDECO ILLUMINA |  | MURO (MUR) |  | CASTEX HZCAS150
| FSVT VAPOR TIGHT HIGHBAY |  | MEZZO (MEZ) |  | CASTEX HZCAS300
STAIRWELL |  | FLOODS |  |  | CASTEX HZCAS310
| SWL |  | PICCOLO FLOODS (PSF) |  | CASTEX HZCAS320
STRIP LIGHT |  |  | Multipurpose Light (MPLSEL) |  | CASTEX HZCAS350
| SL STRIPLED & STRIPLED SELECTABLE |  | FOOD SAFE FIXTURES |  | CASTEX HZCAS400
LOW, MID & HIGHBAYS |  |  | FSHB ROUND HIGHBAY |  | CASTEX HZCAS510
| DRACO |  | FSVT VAPOR TIGHT HIGHBAY |  | CASTEX HZCAS600
| NUV NUVOLA |  | CASTEX HZCAS300 | ACCESSORIES
| VALSEL VALORE SELECTABLE |  | CASTEX HZCAS510 |  | WG SERIES WIRE GUARDS
| VAL VALORE |  | CASTEX HZCAS600 | TERMS & CONDITIONS
| FSHB ROUND HIGHBAY |  | BS101LED ILLUMINA
| FSVT VAPOR TIGHT HIGHBAY |  | BS101LEDECO ILLUMINA

## BS101
ILLUMINA BS101 | Model | Item | Description (wet / IP66/ NSF/ DLC PREMIUM) | OEM PRICE
AC only operation, 4ft, (5786 - 6909 lm)
| BS101LED 4HT LO WT30 120-277V |  | 4ft, AC only, 40W, 3000K | 69
| BS101LED 4HT LO WT35 120-277V | 117101185 | 4ft, AC only, 40W, 3500K | 69
| BS101LED 4HT LO WT40 120-277V | 117101186 | 4ft, AC only, 40W, 4000K | 69
| BS101LED 4HT LO WT50 120-277V | 117101187 | 4ft, AC only, 40W, 5000K | 69
AC & EM operation, 4ft, (5786 - 6909 lm) (1633 emergency lm)
| BS101LED 4SA LO WT30 120-277V |  | 4ft, AC & EM, 40W, 3000K | 149
| BS101LED 4SA LO WT35 120-277V | 117102356 | 4ft, AC & EM, 40W, 3500K | 149
| BS101LED 4SA LO WT40 120-277V | 117102357 | 4ft, AC & EM, 40W, 4000K | 149
| BS101LED 4SA LO WT50 120-277V | 117102358 | 4ft, AC & EM, 40W, 5000K | 149
AC only operation, 4ft, (8679 - 10,351 lm)
| BS101LED 4HT HO WT30 120-277V |  | 4ft, AC only, 60W, 3000K | 69
| BS101LED 4HT HO WT35 120-277V | 117101188 | 4ft, AC only, 60W, 3500K | 69
| BS101LED 4HT HO WT40 120-277V | 117101189 | 4ft, AC only, 60W, 4000K | 69
| BS101LED 4HT HO WT50 120-277V | 117101190 | 4ft, AC only, 60W, 5000K | 69
AC & EM operation, 4ft, (8679 - 10,351 lm) (1633 emergency lm)
| BS101LED 4SA HO WT30 120-277V |  | 4ft, AC & EM, 60W, 3000K | 149
| BS101LED 4SA HO WT35 120-277V | 117102359 | 4ft, AC & EM, 60W, 3500K | 149
| BS101LED 4SA HO WT40 120-277V | 117102360 | 4ft, AC & EM, 60W, 4000K | 149
| BS101LED 4SA HO WT50 120-277V | 117102361 | 4ft, AC & EM, 60W, 5000K | 149
| Options |  | Description | Adder
| 347V - 480V |  | 347V - 480V input | 15
| (control) NOD | 476100458 | Beghelli in-fixture 0-10V, bluetooth, casambi lighting control node solution | 49
| (control) OS | 476100457 | Beghelli external occ sensor | 31.5
| (control) OSB | 476100456 | Beghelli external occ sensor, bluetooth | 49
| (control) OSBC | 476100465 | Beghelli external occ sensor, casambi | 74
| D |  | dali driver | 22.5
| FA |  | fully assembled fixture | contact factory
| FP |  | inline fuse protection (3A) | 8.5
| JM |  | junction mount (unit is no longer wet location, but damp location) | 15.5
| SP |  | surge protection (10KA) | 9.5
| SS |  | stainless steel clips (x8) | 7
| TPS |  | tamper proof screws | 15.5
| WHT |  | white housing (MOQ 1000) | contact factory
| Mounting Accessories | Item | Description | OEM PRICE
| 1PK12WBS14 | 600100298 | 12" pendant mount kit , white (BS101) | 36
| 1PK24WBS14 | 600100325 | 24" pendant mount kit , white (BS101) | 42.5
| 1PK48WBS14 | 600100269 | 48" pendant mount kit, white (BS101) | 54
| 1SPK12WBS14 | 600100304 | 12" single swivel pendant kit, white (BS101) | 33
| 1SPK24WBS14 | 600100326 | 24" single swivel pendant kit, white (BS101) | 37
| 1SPK48WBS14 | 600100327 | 48" single swivel pendant kit, white (BS101) | 46
| 2AC50 | 600100191 | 50" aircraft cable kit | 21.5
| 2AC72 | 600100181 | 72" aircraft cable kit | 22.5
| 2CH48 | 600100183 | 48" chain hang kit (2 chains, field cuttable) | 9.5
| 2PK12W | 600100315 | 12" double stem pendant mount kit , white | 38
| 2PK24W | 600100316 | 24" double stem pendant mount kit , white | 43.5
| 2PK48W | 600100253 | 48" double stem pendant mount kit, white | 57
| 2SPK12W | 600100302 | 12" double stem swivel pendant mount kit , white | 40.5
| 2SPK24W | 600100319 | 24" double stem swivel pendant mount kit , white | 46.5
| 2SPK48W | 600100320 | 48" double stem swivel pendant mount kit, white | 57.5
| PM | 600100195 | pivot mount | 7
| QMBWBS14 | 600100283 | quick mount bracket (requires JM mount) (BS101) | 72.5
| TM22BS14 | 600100300 | 22" length trunnion mount (BS101) | 57
| Controls Accessories | Item | Description | OEM PRICE
| EMDCB | 476100466 | wireless, self powered, passive infrared motion and lux sensor (enocean); note: backup battery not included | 117
| HHR FSIR | 476100186 | hand held remote to adjust FSP221 occ sensor | 111.5
| RLY | 476100461 | Beghelli lighting control module relay, casambi | 78
| SW1 | 476100467 | single rocker wall switch, self-powered, dimming, bluetooth | 79.5
| Accessories | Item | Description | OEM PRICE
| TPB | 800100028 | tamper proof driver bit for illumina TPS option | 10
Link to Web Page
Link to INDEX

## BS101 ECO
ILLUMINA BS101 ECO | Model | Item | Description (wet / IP66/ NSF/ DLC PREMIUM) | OEM PRICE
AC only operation, 4ft, (3481 - 3686 lm)
| BS101LED ECO 4HT LO WT30 120-277V | 117102985 | 4ft, AC only, 35W, 3000K, IP66, DLC approved, Gray housing | 66
| BS101LED ECO 4HT LO WT35 120-277V |  | 4ft, AC only, 35W, 3500K, IP66, DLC approved, Gray housing | 66
| BS101LED ECO 4HT LO WT40 120-277V | 117101847 | 4ft, AC only, 35W, 4000K, IP66, DLC approved, Gray housing | 66
| BS101LED ECO 4HT LO WT50 120-277V | 117102714 | 4ft, AC only, 35W, 5000K, IP66, DLC approved, Gray housing | 66
AC & EM operation, 4ft, (3481 - 3686 lm) (1440 emergency lm)
| BS101LED ECO 4SA LO WT30 120-277V |  | 4ft, AC & EM, 35W, 3000K, IP66, DLC approved, Gray housing | 145
| BS101LED ECO 4SA LO WT35 120-277V |  | 4ft, AC & EM, 35W, 3500K, IP66, DLC approved, Gray housing | 145
| BS101LED ECO 4SA LO WT40 120-277V | 117102478 | 4ft, AC & EM, 35W, 4000K, IP66, DLC approved, Gray housing | 145
| BS101LED ECO 4SA LO WT50 120-277V | 117103138 | 4ft, AC & EM, 35W, 5000K, IP66, DLC approved, Gray housing | 145
AC only operation, 4ft, (7594 - 7919 lm)
| BS101LED ECO 4HT HO WT30 120-277V | 117103149 | 4ft, AC only, 55W, 3000K, IP66, DLC approved, Gray housing | 66
| BS101LED ECO 4HT HO WT35 120-277V |  | 4ft, AC only, 55W, 3500K, IP66, DLC approved, Gray housing | 66
| BS101LED ECO 4HT HO WT40 120-277V | 117102250 | 4ft, AC only, 55W, 4000K, IP66, DLC approved, Gray housing | 66
| BS101LED ECO 4HT HO WT50 120-277V | 117102122 | 4ft, AC only, 55W, 5000K, IP66, DLC approved, Gray housing | 66
AC & EM operation, 4ft, (7594 - 7919 lm) (1440 emergency lm)
| BS101LED ECO 4SA HO WT30 120-277V |  | 4ft, AC & EM, 55W, 3000K, IP66, DLC approved, Gray housing | 145
| BS101LED ECO 4SA HO WT35 120-277V |  | 4ft, AC & EM, 55W, 3500K, IP66, DLC approved, Gray housing | 145
| BS101LED ECO 4SA HO WT40 120-277V | 117102294 | 4ft, AC & EM, 55W, 4000K, IP66, DLC approved, Gray housing | 145
| BS101LED ECO 4SA HO WT50 120-277V | 117102295 | 4ft, AC & EM, 55W, 5000K, IP66, DLC approved, Gray housing | 145
| Options |  | Description | Adder
| 347V - 480V |  | 347V - 480V input | 15
| (control) NOD | 476100458 | Beghelli in-fixture 0-10V, bluetooth, casambi lighting control node solution | 49
| (control) OS | 476100457 | Beghelli external occ sensor | 31.5
| (control) OSB | 476100456 | Beghelli external occ sensor, bluetooth | 49
| (control) OSBC | 476100465 | Beghelli external occ sensor, casambi | 74
| FA |  | fully assembled fixture | contact factory
| FP |  | inline fuse protection (3A) | 8.5
| JM |  | junction mount (unit is no longer wet location, but damp location) | 15.5
| SP |  | surge protection (10KA) | 9.5
| SS |  | stainless steel clips (x8) | 7
| TPS |  | tamper proof screws | 15.5
| WHT |  | white housing (MOQ 1000) | contact factory
| Mounting Accessories | Item | Description | OEM PRICE
| 1PK12WBS14 | 600100298 | 12" pendant mount kit , white (BS101) | 36
| 1PK24WBS14 | 600100325 | 24" pendant mount kit , white (BS101) | 42.5
| 1PK48WBS14 | 600100269 | 48" pendant mount kit, white (BS101) | 54
| 1SPK12WBS14 | 600100304 | 12" single swivel pendant kit, white (BS101) | 33
| 1SPK24WBS14 | 600100326 | 24" single swivel pendant kit, white (BS101) | 37
| 1SPK48WBS14 | 600100327 | 48" single swivel pendant kit, white (BS101) | 46
| 2AC50 | 600100191 | 50" aircraft cable kit | 21.5
| 2AC72 | 600100181 | 72" aircraft cable kit | 22.5
| 2CH48 | 600100183 | 48" chain hang kit (2 chains, field cuttable) | 9.5
| 2PK12W | 600100315 | 12" double stem pendant mount kit , white | 38
| 2PK24W | 600100316 | 24" double stem pendant mount kit , white | 43.5
| 2PK48W | 600100253 | 48" double stem pendant mount kit, white | 57
| 2SPK12W | 600100302 | 12" double stem swivel pendant mount kit , white | 40.5
| 2SPK24W | 600100319 | 24" double stem swivel pendant mount kit , white | 46.5
| 2SPK48W | 600100320 | 48" double stem swivel pendant mount kit, white | 57.5
| PM | 600100195 | pivot mount | 7
| QMBWBS14 | 600100283 | quick mount bracket (requires JM mount) (BS101) | 72.5
| TM22BS14 | 600100300 | 22" length trunnion mount (BS101) | 57
| Controls Accessories | Item | Description | OEM PRICE
| EMDCB | 476100466 | wireless, self powered, passive infrared motion and lux sensor (enocean); note: backup battery not included | 117
| HHR FSIR | 476100186 | hand held remote to adjust FSP221 occ sensor | 111.5
| RLY | 476100461 | Beghelli lighting control module relay, casambi | 78
| SW1 | 476100467 | single rocker wall switch, self-powered, dimming, bluetooth | 79.5
| Accessories | Item | Description | OEM PRICE
| TPB | 800100028 | tamper proof driver bit for illumina TPS option | 10
| Replacement Parts | Item | Description | OEM PRICE
| RL | 22620014 | replacement lens | 15
Link to Web Page
Link to INDEX

## Castex
CASTEX
HZCAS100 | Model | Item | Description (hazardous / IP67 / cold) | OEM PRICE
Class I, Div 2, Groups A-D; Class II Div 1, Groups E-G; Class II, Div 2, Group F,G; Class III
| HZCAS100 HT MO 5K C | 117104761 | AC only, 20W, 2000 lm, 5000K, wide beam distribution (120°), ceiling mount, 0-10V dimming, 120-277V, gray | 116
| HZCAS100 HT MO 5K W90 | 117104762 | AC only, 20W, 5000K, wide beam distribution (120°), 90deg wall mount, 0-10V dimming, 120-277V, gray | 135
| HZCAS100 HT HO 5K C | 117104767 | AC only, 30W, 5000K, wide beam distribution (120°), ceiling mount, 0-10V dimming, 120-277V, gray | 124
| HZCAS100 HT HO 5K W90 | 117104766 | AC only, 30W, 5000K, wide beam distribution (120°), 90deg wall mount, 0-10V dimming, 120-277V, gray | 136
Link to Beghelli Web Page
HZ CAS150 | Model | Item | Description (hazardous / IP66 / cold) | OEM PRICE
Class I, Division 1, Groups C D, Class I Division 2, Groups A,B,C and D; Class II, Division 1, Groups E, F & G, Class II, Division 2, Groups F & G, Class III
| HZ CAS150 HT MO DIM WT50 120-277V | 117104994 | AC only, 30W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 339
| HZ CAS150 HT HO DIM WT50 120-277V | 117104386 | AC only, 40W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 359
| Options |  | Description | Adder
| BAA |  | Buy American Act | 129
Link to Beghelli Web Page
HZ CAS300 | Model | Item | Description (hazardous / IP66 / cold) | OEM PRICE
Class I, Division 2, Groups A,B,C and D; Class II, Division 1, Groups E, F & G, Class II, Division 2, Groups F & G, Class III
| HZ CAS300 HT XLO DIM WT50 120-277V | 117105174 | AC only, 60W, 5000K, wide beam distribution (120°), gray housing, 120-277V | 263
| HZ CAS300 HT VLO DIM WT40 120-277V | 117105180 | AC only, 80W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 284
| HZ CAS300 HT VLO DIM WT50 120-277V | 117105179 | AC only, 80W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 284
| HZ CAS300 HT LO DIM WT50 120-277V | 117104546 | AC only, 100W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 329
| HZ CAS300 HT MO DIM WT40 120-277V |  | AC only, 150W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 379
| HZ CAS300 HT MO DIM WT50 120-277V | 117104610 | AC only, 150W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 379
| HZ CAS300 HT HO DIM WT40 120-277V | 117105215 | AC only, 200W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 410
| HZ CAS300 HT HO DIM WT50 120-277V | 117105130 | AC only, 200W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 410
| HZ CAS300 HT VHO DIM WT50 120-277V | 117103822 | AC only, 250W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 479
| HZ CAS300 HT WHO DIM WT50 120-277V |  | AC only, 300W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 506.5
| HZ CAS300 HT XHO DIM WT50 120-277V | 117105013 | AC only, 400W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 549
| Options |  | Description | Adder
| BAA |  | Buy American Act | 98.5
Link to Beghelli Web Page
HZ CAS310 | Model | Item | Description (hazardous / IP66 / cold) | OEM PRICE
Class I, Division 1, Groups C D, Class I, Division 2, Groups A,B,C and D; Class II, Division 1, Groups E, F & G, Class II, Division 2, Groups F & G, Class III
| HZ CAS310 HT VLO DIM WT40 120-277V |  | AC only, 60W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 492.5
| HZ CAS310 HT VLO DIM WT50 120-277V | 117104377 | AC only, 60W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 492.5
| HZ CAS310 HT LO DIM WT40 120-277V |  | AC only, 80W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 569
| HZ CAS310 HT LO DIM WT50 120-277V | 117105183 | AC only, 80W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 569
| HZ CAS310 HT MO DIM WT40 120-277V | 117105160 | AC only, 100W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 589
| HZ CAS310 HT MO DIM WT50 120-277V | 117103148 | AC only, 100W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 589
| HZ CAS310 HT HO DIM WT40 120-277V | 117104618 | AC only, 150W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 612
| HZ CAS310 HT HO DIM WT50 120-277V | 117104769 | AC only, 150W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 612
| HZ CAS310 HT VHO DIM WT50 120-277V | 117104379 | AC only, 250W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 698
| Options |  | Description | Adder
| BAA |  | Buy American Act | 183
Link to Beghelli Web Page
HZ CAS320 | Model | Item | Description (hazardous / IP66 / cold) | OEM PRICE
Class I, Division 1, Groups C D; Class I, Division 2, Groups A B C D; Class II, Division 1, Groups E, F & G; Class II, Division 2, Groups F G, Class III
| HZ CAS320 HT VLO DIM WT50 120-277V | 117104380 | AC only, 60W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 536
| HZ CAS320 HT LO DIM WT40 120-277V |  | AC only, 80W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 565
| HZ CAS320 HT LO DIM WT50 120-277V | 117104381 | AC only, 80W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 565
| HZ CAS320 HT MO DIM WT50 120-277V | 117104382 | AC only, 100W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 685
| HZ CAS320 HT HO DIM WT40 120-277V | 117105285 | AC only, 150W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 723
| HZ CAS320 HT HO DIM WT50 120-277V | 117104383 | AC only, 150W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 723
| Options |  | Description | Adder
| BAA |  | Buy American Act | 228.5
Link to Beghelli Web Page
HZ CAS350 | Model | Item | Description | OEM PRICE
Class I, Division 2, Groups A B C Dl Class II, Division 1, Groups E, F & G; Class 2, Division 2, Groups F & G, Class III; UL1598A; UL1598
| HZCAS35MHTLO5K | 117104978 | Hazardous flood/highbay/area, 60W LED, 5000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 225
| HZCAS35MHTMO5K | 117104979 | Hazardous flood/highbay/area, 80W LED, 5000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 285
| HZCAS35MHTHO4K | 117105314 | Hazardous flood/highbay/area, 100W LED, 4000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 303
| HZCAS35MHTHO5K | 117104980 | Hazardous flood/highbay/area, 100W LED, 5000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 303
| HZCAS35LHTMO5K | 117104981 | Hazardous flood/highbay/area, 150W LED, 5000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 329
| HZCAS35LHTHO4K | 117105315 | Hazardous flood/highbay/area, 200W LED, 4000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 354
| HZCAS35LHTHO5K | 117104982 | Hazardous flood/highbay/area, 200W LED, 5000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 354
| HZCAS35XHTLO5K | 117104983 | Hazardous flood/highbay/area, 250W LED, 5000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 489
| HZCAS35XHTMO5K | 117104984 | Hazardous flood/highbay/area, 300W LED, 5000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 519
| HZCAS35XHTHO5K | 117104985 | Hazardous flood/highbay/area, 400W LED, 5000K CCT, 140LPW, 100-277V, 0-10V dimming, 120deg beam angle, glass lens, bracket mount, Class I-Div 2 haz rating, UL1598A, IP66, -40C to 50C, marine grade gray finish | 559
| Options |  | Description | Adder
| BAA |  | Buy American Act | 76.5
Link to Beghelli Web Page
HZ CAS400 | Model | Item | Description (hazardous / IP66 / cold) | OEM PRICE
Class I, Division 2, Groups A,B,C and D; Class II, Division 1, Groups E, F & G, Class II, Division 2, Groups F & G, Class III
| HZ CAS400 2HT LO DIM WT50 120-277V | 117104402 | AC only, 2 ft, 30W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 349
| HZ CAS400 2HT MO DIM WT50 120-277V |  | AC only, 2 ft, 40W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 342
| HZ CAS400 4HT HO DIM WT40 120-277V | 117104623 | AC only, 4 ft, 50W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 445
| HZ CAS400 4HT HO DIM WT50 120-277V | 117104622 | AC only, 4 ft, 50W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 445
| HZ CAS400 4HT VHO DIM WT50 120-277V | 117105343 | AC only, 4 ft, 60W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 459
| Options |  | Description | Adder
| BAA |  | Buy American Act | 127
Link to Beghelli Web Page
HZ CAS510 | Model | Item | Description ( hazardous / vapor tight / IP66) | OEM PRICE
Class I, Division 2, Groups A,B,C and D; Class II, Division 2, Groups F & G, Class III
| HZ CAS510 2HT LO DIM WT50 120-277V | 117104387 | AC only, 2 ft, 40W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 369
| HZ CAS510 4HT LO DIM WT40 120-277V |  | AC only, 4 ft, 40W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 405
| HZ CAS510 4HT LO DIM WT50 120-277V | 117105206 | AC only, 4 ft, 40W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 405
| HZ CAS510 4HT MO DIM WT40 120-277V | 117105267 | AC only, 4 ft, 60W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 465
| HZ CAS510 4HT MO DIM WT50 120-277V | 117104624 | AC only, 4 ft, 60W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 465
| HZ CAS510 4HT HO DIM WT50 120-277V | 117104390 | AC only, 4 ft, 80W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 493
| Options |  | Description | Adder
| BAA |  | Buy American Act | 162.5
Link to Beghelli Web Page
HZ CAS600 | Model | Item | Description (hazardous / IP66 / cold) | OEM PRICE
Class I, Division 1, Groups C D, Class I, Division 2, Groups A,B,C and D; Class II, Division 1, Groups E, F & G, Class II, Division 2, Groups F & G, Class III
| HZ CAS600 2HT VLO DIM WT40 120-277V |  | AC only, 2 ft, 40W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 653
| HZ CAS600 2HT VLO DIM WT50 120-277V |  | AC only, 2 ft, 40W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 653
| HZ CAS600 2HT LO DIM WT50 120-277V | 117105177 | AC only, 2 ft, 50W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 719
| HZ CAS600 4HT VLO DIM WT40 120-277V |  | AC only, 4 ft, 40W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 712
| HZ CAS600 4HT VLO DIM WT50 120-277V | 117104391 | AC only, 4 ft, 40W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 712
| HZ CAS600 4HT MO DIM WT40 120-277V |  | AC only, 4 ft, 60W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 785
| HZ CAS600 4HT MO DIM WT50 120-277V | 117104555 | AC only, 4 ft, 60W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 785
| HZ CAS600 4HT HO DIM WT40 120-277V | 117104395 | AC only, 4 ft, 80W, 4000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 835
| HZ CAS600 4HT HO DIM WT50 120-277V | 117104554 | AC only, 4 ft, 80W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 835
| HZ CAS600 4HT VHO DIM WT50 120-277V | 117105171 | AC only, 4 ft, 100W, 5000K, wide beam distribution (120°), gray housing, 120-277V, 0-10V dimming | 870
| Options |  | Description | Adder
| BAA |  | Buy American Act | 261
Link to Beghelli Web Page
OPTIONS | Model | Item | Description | OEM PRICE
| EM |  | emergency (CONSULT SPEC SHEETS FOR MODELS AVAILABLE WITH EMERGENCY OPTION, NOT ALL MODELS AVAILABLE, LEAD TIME APPLIES) | 81.5
| HV |  | high voltage (200-480V), consult factory for availability | 76.5
MOUNTING ACCESSORIES | Model | Item | Description | OEM PRICE
| HZ CH39 | 851100481 | single 39" chain with two carabiner clips (can be field shortened) | 36
| HZ HOOK | 351100325 | hook mount | 29.5
| HZ JBOX | 351100320 | J box | 137.5
| HZ PK12 | 851100475 | 12" pendant stem | 36
| HZ STN25 | 351100326 | stanchion 25° | 122
| HZ STN90 | 351100327 | stanchion 90° | 122
| HZ STW | 351100328 | stanchion wall mount | 76.5
| HZ WM25 | 351100321 | wall mount 25° (includes hazardous rated j-box) | 183
| HZ WM90 | 351100322 | wall mount 90° (includes hazardous rated j-box) | 183
Link to INDEX

## Draco
DRC | Model | Item | Description | OEM PRICE
| DRCHT |  | Decorative LED Mid to Lowbay, AC only | 318
| DRCSA |  | Decorative LED Mid to Lowbay, AC & EM | 554.5
| DRCGHT |  | Decorative LED Mid to Lowbay with Glass Trim Ring, AC only | 445
| DRCGSA |  | Decorative LED Mid to Lowbay with Glass Trim Ring, AC & EM | 687.5
Output
| VLO |  | very low output (3766-4740lm) | 0
| LO |  | low output (6277-7900lm) | 0
| MO |  | medium output (8788-11059lm) | 0
| HO |  | high output (11298-14220lm) | 0
CCT
| 3K |  | 3000K | 0
| 4K |  | 4000K | 0
| 5K |  | 5000K | 0
Optics
| AC12 |  | 12" acrylic refractor | 0
| AC16 |  | 16" acrylic refractor in DRC only (no glass trim) | 20.5
| AC16 |  | 16" acrylic refractor in DRCG with glass trim | 44
| AL12 |  | 12" aluminum reflector | 0
Finish
| S |  | Bengal silver (standard) | 0
| CC |  | custom color | contact factory
| Options |  | Description | Adder
| HV |  | 347V - 480V input | 14
| (control) NOD | 476100458 | Beghelli in-fixture 0-10V, bluetooth, casambi lighting control node solution | 46
| PK |  | pendant kit ready (must be ordered with PK accessories) | 15
| Mounting Accessories | Item | Description | OEM PRICE
| 1CH48 | 600100186 | 48" single chain kit (field cuttable) | 14.5
| 1AC72HK | 600100840 | 72" fully adjustable aircraft cable kit with hook | 19
| 1PK12B38 | 600100841 | 12" pendant kit (3/8" IP), black (requires PK option) | 11.5
| 1PK24B38 |  | 24" pendant kit (3/8" IP), black (requires PK option) | 13.5
| 1PK48B38 |  | 48" pendant kit (3/8" IP), black (requires PK option) | 18
| 1PK12W38 | 600100309 | 12" pendant kit (3/8" IP), black (requires PK option) | 11.5
| 1PK24W38 | 600100310 | 24" pendant kit (3/8" IP), white (requires PK option) | 13.5
| 1PK48W38 | 600100311 | 48" pendant kit (3/8" IP), white (requires PK option) | 18
| 1SPK12B38 | 600100842 | 12" swivel pendant kit (3/8" IP), black (requires PK option) | 15.5
| 1SPK24B38 |  | 24" swivel pendant kit (3/8" IP), black (requires PK option) | 19
| 1SPK48B38 |  | 48" swivel pendant kit (3/8" IP), black (requires PK option) | 27.5
| 1SPK12W38 | 600100330 | 12" swivel pendant kit (3/8" IP), white (requires PK option) | 15.5
| 1SPK24W38 | 600100331 | 24" swivel pendant kit (3/8" IP), white (requires PK option) | 19
| 1SPK48W38 | 600100332 | 48" swivel pendant kit (3/8" IP), white (requires PK option) | 27.5
| Controls Accessories | Item | Description | OEM PRICE
| EMDCB | 476100466 | wireless, self powered, passive infrared motion and lux sensor (enocean); note: backup battery not included | 117
| RLY | 476100461 | Beghelli lighting control module relay, casambi | 78
| RSDC | 476100505 | Beghelli room sensor, wireless, Casambi bluetooth mesh, 12-24VDC | 74
| SW1 | 476100467 | single rocker wall switch, self-powered, dimming, bluetooth | 79.5
Link to Web Page
Link to INDEX

## FS Food Safe
FSVT | Model | Item | Description (NSF Certified, IP65, DLC PREM) | OEM PRICE
| FSVTSEL4HT | 117105199 | NSF vaportite highbay, 47.2", 165/ 135/ 105W selectable, 3500/ 4000/ 5000K CCT selectable, 80CRI, 120-277V, 0-10VDC dim-to-off, light gray | 140
| Options |  | Description | Adder
| EM |  | factory installed EM kit | 96.5
| Accessories | Item | Description | OEM PRICE
| FSVTAC | 600100366 | aircraft cable kit for FSVT fixture, 3' | 10.5
| FSVTEM | 600100367 | emergency battery backup for FSVT, 15W (≈ 1950 lm) | 84
| FSVTOSKIT | 600100368 | external PIR occ sensor kit | 23.5
| RCH06R | 600100369 | remote for FSVT & FSHB occ sensors | 29.5
Link to Web Page
FSHB | Model | Item | Description (NSF Certified, IP69K, DLC PREM) | OEM PRICE
| FSHBHT 155K W | 117105200 | NSF round highbay, 150W, 21.9K lm, 5000K CCT, 80CRI, 120-277V, 0-10VDC dimming (to off), -40 to 45C, white | 147
| FSHBHT 205K W | 117105201 | NSF round highbay, 200W, 29.2K lm, 5000K CCT, 80CRI, 120-277V, 0-10VDC dimming (to off), -40 to 45C, white | 170
| FSHBHT 155K W OS |  | NSF round highbay, 150W, 29.2K lm, 5000K CCT, 80CRI, 120-277V, 0-10VDC dimming (to off), -40 to 45C, white, microwave occ sensor | 165
| FSHBHT 205K W OS |  | NSF round highbay, 200W, 29.2K lm, 5000K CCT, 80CRI, 120-277V, 0-10VDC dimming (to off), -40 to 45C, white, microwave occ sensor | 187
| Accessories | Item | Description | OEM PRICE
| FSHBEM25 | 600100370 | 25W emergency battery backup for 150W model (≈ 3650 lm) | 152.5
| FSHBEM40 | 600100371 | 40W emergency battery backup for 200W model, 40W (≈ 5840 lm) | 178.5
| RCH06R | 600100369 | remote for FSVT & FSHB occ sensors | 29.5
Link to Web Page
Link to INDEX

## MEZ
MEZZO | Model | Item | Description (wet /cold) | OEM PRICE
| MEZLEDSA BLK 120/277V | 101000019 | 2x6W LED, AC & EM, black, 120/277V | 120.8
| MEZLEDSA BLK 120/277V CL | 101000023 | 2x6W LED, AC & EM, black, 120/277V, cold location -30°C to 50°C | 129.2
| MEZLEDSA DBZ 120/277V | 101000013 | 2x6W LED, AC & EM dark bronze, 120/277V | 120.8
| MEZLEDSA DBZ 120/277V CL | 101100223 | 2x6W LED, AC & EM, dark bronze, 120/277V, cold location -30°C to 50°C | 129.2
| MEZLEDSA NIK 120/277V | 101000021 | 2x6W LED, AC & EM, nickel, 120/277V | 120.8
| MEZLEDSA NIK 120/277V CL | 101000020 | 2x6W LED, AC & EM, nickel, 120/277V, cold location -30°C to 50°C | 129.2
| MEZLEDSA WHT 120/277V | 101000022 | 2x6W LED, AC & EM, white, 120/277V | 120.8
| MEZLEDSA WHT 120/277V CL | 101100224 | 2x6W LED, AC & EM, white, 120/277V, cold location -30°C to 50°C | 129.2
| Options |  | Description | Adder
| T20 |  | Title 20 compliant | 10.8
| Accessories | Item | Description | OEM PRICE
| WG 6DX11LX7W WHT | 300400014-001 | wireguard, 6"D X 11"L X 7"W, white (MEZ wall) | 47.4
Link to Beghelli Web Page
Link to INDEX

## MPL
MPLSEL | Model | Item | Description (wet / IP65) | OEM PRICE
| MPLSEL25HTT3 | 117105636 | Flood/area, AC only, LED, 3000/4000/ 5000K selectable, lumens selectable up to 24K, type 3 distribution, dark bronze, IP65, DLC PREMIUM | 99
| MPLSEL25HTT5 | 117105637 | Flood/area, AC only, LED, 3000/4000/ 5000K selectable, lumens selectable up to 24K, type 5 distribution, dark bronze, IP65, DLC PREMIUM | 99
| MPLSEL40HTT3 | 117105638 | Flood/area, AC only, LED, 3000/4000/ 5000K selectable, lumens selectable up to 40K, type 3 distribution, dark bronze, IP65, DLC PREMIUM | 149
| MPLSEL40HTT5 | 117105639 | Flood/area, AC only, LED, 3000/4000/ 5000K selectable, lumens selectable up to 40K, type 5 distribution, dark bronze, IP65, DLC PREMIUM | 149
| Options |  | Description | Adder
| HV |  | 277-480V for 25K model | 47
| HV |  | 277-480V for 40K model | 63
| P3 |  | NEMA 3-pin photocell receptacle | 39
| Mounting Accessories | Item | Description | OEM PRICE
MOUNTING ACCESSORY MUST BE ORDERED WITH FIXTURES, MOUNTING ACCESSORIES SOLD SEPARATELY
| MPLSAA | 600100204 | adjustable arm | 40
| MPLSSFA | 600100205 | slipfitter arm | 56
| MPLSSF | 600100206 | slipfitter | 31
| MPLSTM | 600100207 | trunnion mount | 38
| MPLSYK25 | 600100208 | yoke mount, 25K lm model | 24.5
| MPLSYK40 | 600100209 | yoke mount, 40K lm model | 27.5
| Accessories | Item | Description | OEM PRICE
| NEMA3PC |  | NEMA 3-pin photocell, IP65 | 27
Link to Beghelli Web Page
Link to INDEX

## MUR
MURO | Model | Item | Description (wet /cold) | OEM PRICE
| MURSA DB CL | 100101018 | Wallpack, 18W LED, 1500 lm, 4000K CCT, Ni-Cd battery backup, cold location -25°C to 50°C, Autotest, 120-277V, dark bronze | 130
| MURSA WHT CL | 100101019 | Wallpack, 18W LED, 1500 lm, 4000K CCT, Ni-Cd battery backup, cold location -25°C to 50°C, Autotest, 120-277V, white | 130
| MURSA BLK CL | 100101301 | Wallpack, 18W LED, 1500 lm, 4000K CCT, Ni-Cd battery backup, cold location -25°C to 50°C, Autotest, 120-277V, black | 130
| MURSA DB CL PIR | 100101022 | Wallpack, 18W LED, 1500 lm, 4000K CCT, PIR motion sensor, Ni-Cd battery backup, cold location -25°C to 50°C, Autotest, 120-277V, dark bronze | 149.4
| MURSA WHT CL PIR | 100101023 | Wallpack, 18W LED, 1500 lm, 4000K CCT, PIR motion sensor, Ni-Cd battery backup, cold location -25°C to 50°C, Autotest, 120-277V, white | 149.4
| MURSA BLK CL PIR | 100101302 | Wallpack, 18W LED, 1500 lm, 4000K CCT, PIR motion sensor, Ni-Cd battery backup, cold location -25°C to 50°C, Autotest, 120-277V, black | 149.4
Link to Beghelli Web Page
Link to INDEX

## NUV
NUVOLA | Model | Item | Descriptiion (wet / IP65 / Cold / DLC) | OEM PRICE
| NUVHT VLO WT40 VWD 120-277V HK | 117102567 | AC only, 90W, 4000K, very wide distribution (120°), black housing, hook mount | 151.5
| NUVHT VLO WT30 VWD 120-277V | 117102098 | AC only, 90W, 3000K, very wide distribution (120°), black housing | 148.5
| NUVHT VLO WT50 VWD 120-277V | 117102100 | AC only, 90W, 5000K, very wide distribution (120°), black housing | 148.5
| NUVHT LO WT40 VWD 120-277V | 117102102 | AC only, 120W, 4000K, very wide distribution (120°), black housing | 211.5
| NUVHT MO WT50 MWD 120-277V | 117102097 | AC only, 150W, 5000K, medium wide distribution (50°), black housing | 223.5
| NUVHT MO WT30 WBD 120-277V | 117103769 | AC only, 150W, 3000K, wide beam distribution (90°), black housing | 223.5
| NUVHT MO WT30 VWD 120-277V | 117102104 | AC only, 150W, 3000K, very wide distribution (120°), black housing | 223.5
| NUVHT MO WT40 VWD 120-277V | 117102105 | AC only, 150W, 4000K, very wide distribution (120°), black housing | 223.5
| NUVHT MO WT40 VWD 120-277V IOS WG PK | 117104004 | AC only, 150W, 4000K, very wide distribution (120°), black housing, wire guard, pendant mount | 223.5
| NUVSA MO WT40 VWD 120-277V IOS WG PK | 117104005 | AC & EM, 150W, 4000K, very wide distribution (120°), black housing,occ sensor, wire guard, pendant mount | 355.5
| NUVHT MO WT50 VWD 120-277V | 117102106 | AC only, 150W, 5000K, very wide distribution (120°), black housing | 223.5
| NUVHT HO WT40 VWD 120-277V | 117102108 | AC only, 240W, 4000K, very wide distribution (120°), black housing | 275.5
| NUVHT HO WT40 VWD 120-277V IOS WG PK | 117104007 | AC only, 240W, 4000K, very wide distribution (120°), black housing, occ sensor, wire guard, pendant mount | 275.5
| NUVSA HO WT40 VWD 120-277V IOS WG PK | 117104008 | AC & EM, 240W, 4000K, very wide distribution (120°), black housing, occ sensor, wire guard, pendant mount | 335
| NUVHT VHO WT50 WBD 120-277V | 117104172 | AC only, 300W, 5000K, wide beam distribution (90°), black housing | 364.5
| Mounting Accessories | Item | Description | OEM PRICE
| ABNUVS |  | adjustable mounting bracket, Nuvola 90W | 10.5
| ABNUVL |  | adjustable mounting bracket, Nuvola 150 & 240W | 51
| ABNUV300 |  | adjustable mounting bracket, Nuvola 300W | discontinued
| 1CH48 | 600100186 | 48" single chain kit (field cuttable) | 14.5
| 1CH48NUV300 | 600100277 | 48" standard chain mount FOR NUV 300W | 16.5
| HK | 600100184 | hook mount | 4.5
| MBNUV |  | surface/ wall mount bracket for Nuvola | 0
| 1PK24BNUVL | 600100270 | 24" pendant mount kit (NUV MO, HO, VHO), black | 32
| 1PK24BNUVS | 600100245 | 24" pendant mount kit (NUV VLO), black | 42.5
| 1PK48BNUVS | 600100177 | 48" pendant mount kit (NUV VLO), black | 48
| 1PK48BNUVL | 600100262 | 48" pendant mount kit (NUV MO, HO, VHO), black | 46
| Controls Accessories | Item | Description | OEM PRICE
| EMDCB | 476100466 | wireless, self powered, passive infrared motion and lux sensor (enocean); note: backup battery not included | 117
| RLY | 476100461 | Beghelli lighting control module relay, casambi | 78
| SW1 | 476100467 | single rocker wall switch, self-powered, dimming, bluetooth | 79.5
Link to Beghelli Web Page
Link to INDEX

## PSF
PSF | Model | Item | Description (wet / IP65/ IK10) | OEM PRICE
| PSFHT2 | 100101322 | Flood, 16W LED, 3000/4000/5000K CCT selectable, 2000-2200lm, wide beam, IP65, IK10, DLC PREMIUM, knuckle, dark bronze | 47.3
| PSFHT4 | 100101323 | Flood, 31W LED, 3000/4000/5000K CCT selectable, 4400-4700lm, wide beam, IP65, IK10, DLC PREMIUM, knuckle, dark bronze | 62
| PSFHT7 | 100101324 | Flood, 50W LED, 3000/4000/5000K CCT selectable, 6600-7200lm, wide beam, IP65, IK10, DLC PREMIUM, knuckle, dark bronze | 77.7
| Accessories | Item | Description | OEM PRICE
| PSFYOKE | 300100184 | Yoke mounting bracket for PFSHT7 & PFSHT4 | 6.3
| PSFPOST | 100101325 | Ground stake, line voltage | 15.8
Link to Beghelli Web Page
Link to INDEX

## SL
STRIPLED SELECTABLE (SLSEL) | Model | Item | Description (Damp) | OEM PRICE
| SLSEL4HT | 117104877 | LED striplight, 4ft, lumen and CCT selectable, 0-10V dimming, damp location, DLC | 46.2
| SLSEL4SA | 117104878 | LED striplight, 4ft, lumen and CCT selectable, emergency backup, 0-10V dimming, damp location, DLC | 156.5
| SLSEL8HT |  | LED striplight, 8ft, lumen and CCT selectable, 0-10V dimming, damp location, DLC | 82.5
| SLSEL8SA |  | LED striplight, 8ft, lumen and CCT selectable, emergency backup, 0-10V dimming, damp location, DLC | 188
| Options |  | Description | Adder
| OSP |  | external PIR occupancy sensor (on/off only), installed | 53
| Accessories | Item | Description | OEM PRICE
| SL4WG | 300100186 | Stripled selectable 4' wireguard | 27.3
| 2AC118VHK | 119100113 | 118" aircraft cable suspension kit with V hooks, adjusts from 12" to 118" | 21.6
| 2AC197VHK | 119100118 | 197" aircraft cable suspension kit with V hooks, adjusts from 12" to 197" | 36.8
Link to Beghelli Web Page
SL STRIPLED | Model | Item | Description (Damp / IP44) | OEM PRICE
WHILE | SLLED4HTLOWT40120-277V | 117102160 | AC only, 4ft, 24W, 4000K, 0-10V dimming, damp location, DLC | 56
INVENTORY | SLLED4HTMOWT40120-277V | 117102162 | AC only, 4ft, 40W, 4000K, 0-10V dimming, damp location, DLC | 66
LASTS | SLLED8HTHOWT35120-277V | 117102278 | AC only, 8ft, 60W, 3500K, 0-10V dimming, damp location, DLC | 132
| SLLED8HTHOWT40120-277V | 117102164 | AC only, 8ft, 60W, 4000K, 0-10V dimming, damp location, DLC | 132
| SLLED8HTHOWT50120-277V | 117102165 | AC only, 8ft, 60W, 5000K, 0-10V dimming, damp location, DLC | 132
| Options |  | Description | Adder
| EM | 426100220 | emergency back-up (field installation emergency driver) | 73.5
| Mounting Accessories | Item | Description | OEM PRICE
| 2AC50 | 600100191 | 50" aircraft cable kit | 21.5
| 2AC72 | 600100181 | 72" aircraft cable kit | 22.5
| 2CH48 | 600100183 | 48" chain hang kit (2 chains, field cuttable) | 9.5
| Controls Accesories | item | Description | OEM PRICE
| RLY | 476100461 | Beghelli lighting control module relay, casambi | 78
| SW1 | 476100467 | single rocker wall switch, self-powered, dimming, bluetooth | 79.5
Link to Beghelli Web Page
Link to INDEX

## SWL
SWL | Model | Item | Description (Damp / IP44) | OEM PRICE
| SWLSEL4HT | 117104666 | Stairwell fixture, 4ft, selectable CCT & lumens, 0-10V dimming, white, DLC PREMIUM | 63
| SWLSEL4SAEM13 | 117104667 | Stairwell fixture, 4ft, selectable CCT & lumens, 0-10V dimming, white, DLC PREMIUM, emergency driver | 169.1
| Options |  | Description | Adder
| OS |  | Occupancy sensor, dimming | 10
| Accessories | Item | Description | OEM PRICE
| OS REM | 476100484 | Remote control for OS dimming sensor | 22.6
Link to Beghelli Web Page
Link to INDEX

## VAL
VALORE SELECTABLE | Model | Item | Description (indoor / damp) | OEM PRICE
| VALSEL18 | 117105489 | compact highbay, 18/15/12,000 lm & 4000/5000K selectable, 120-277V | 87.7
| VALSEL24 | 117105490 | compact highbay, 24/18/15,000 lm & 4000/5000K selectable, 120-277V | 98.7
| VALSEL36 | 117105491 | compact highbay, 36K/30K/24,000 lm & 4000/5000K selectable, 120-277V | 131.8
| VALSEL60 | 117105492 | compact highbay, 60/48/36,000 lm & 4000/5000K selectable, 120-277V | 228.4
| Options |  | Description | Adder
| EM13 |  | 13W emergency back-up | 160.2
| EM25 |  | 25W emergency back-up | 167
| HV |  | 347-480V (not available with EM) | 122.9
| LC6 |  | 3-conductor line cord, 6ft (AC only) | 36.8
| LC10 |  | 3-conductor line cord, 10ft (AC only) | 42
| LC15 |  | 3-conductor line cord, 15ft (AC only) | 49.9
| 4LC6 |  | 4-conductor line cord, 6ft for EM models | 36.8
| 4LC10 |  | 4-conductor line cord, 10ft for EM models | 48.3
| 4LC15 |  | 4-conductor line cord, 15ft for EM models | 63
| Mounting Accessories | Item | Description | OEM PRICE
| VALPK | 351100364 | pendant mount bracket (stem & canopy ordered separately; Not compatible with HV and EM options) | 26.3
| VALSM | 351100365 | surface mount bracket (not compatible with HV and EM options) | 20.5
| Accessories | Item | Description | OEM PRICE
| OS5REM | 476100511 | optional remote control for sensors | 27.3
| VALOSM | 476100512 | microwave step-dimming sensor | 25.2
| VALOSP | 476100513 | PIR sensor | 22.1
| WGVAL18 | 300100206 | wireguard for VALSEL18 | 22.6
| WGVAL24 | 300100207 | wireguard for VALSEL24 | 24.2
| WGVAL36 | 300100208 | wireguard for VALSEL36 | 28.4
| WGVAL60 | 300100209 | wireguard for VALSEL60 | 42.6
Link to Beghelli Web Page
VALORE | Model | Item | Description (indoor / damp) | OEM PRICE
AC only operation, 2ft, (12-13K lm)
| VAL2HT LOWT 120-277V | 117103239 | AC only, 100W, adjustable CCT 3000K, 4000K or 5000K, 120-277V | 100.5
AC only operation, 4ft (43-45K lm)
TO BE | VAL4HT HOWT 120-277V | 117103242 | AC only, 325W, adjustable CCT 3000K, 4000K or 5000K, 120-277V | 253
DISCONTINUED/ | Options* |  | Description | Adder
WHILE | EM | 426100219 | emergency back-up (field installation emergency driver) | 123
INVENTORY LASTS | WG2 | 300100108 | wire guard, 2ft | 15
| WG4 | 300100111 | wire guard, 4ft | 30
| Mounting Accessories* | Item | Description | OEM PRICE
| 2YAC50 | 600100192 | 50" adjustable aircraft cable | 23
| 2YAC72 | 600100193 | 72" adjustable aircraft cable | 24
| Controls Accessories | Item | Description | OEM PRICE
| EMDCB | 476100466 | wireless, self powered, passive infrared motion and lux sensor (enocean); note: backup battery not included | 117
| RLY | 476100461 | Beghelli lighting control module relay, casambi | 78
| SW1 | 476100467 | single rocker wall switch, self-powered, dimming, bluetooth | 79.5
* Note: chain included with Valore fixture
Link to Beghelli Web Page
Link to INDEX

## WIRE GUARDS
WIRE GUARDS
WG SERIES | Model | Item | Description | OEM PRICE
| WG 4.5DX17.5LX7W WHT | 300400008-001 | wireguard, 4.5"D X 17.5"L X 7"W, white | 40.2
| WG 9DX20LX19W WHT | 300400009-001 | wireguard, 9"D X 20"L X 19"W, white | 65
| WG 9DX26LX19W WHT | 300400010-001 | wireguard, 9"D X 26"L X 19"W, white | 76.6
| WG 9DX16.5LX16W WHT | 300400011-001 | wireguard, 9"D X 16.5"L X 16"W, white | 61.1
| WG 3DX16.5LX14W WHT | 300400012-001 | wireguard, 3"D X 16.5"L X 14"W, white | 51.1
| WG 6DX16.5LX14W WHT | 300400013-001 | wireguard, 6"D X 16.5"L X 14"W, white | 57.3
| WG 6DX11LX7W WHT | 300400014-001 | wireguard, 6"D X 11"L X 7"W, white (MEZ wall ) | 47.4
| WG 14.5DX12.5LX6.5W WHT | 300400015-001 | wireguard, 14.5"D X 12.5"L X 6.5"W, white | 57
| WG 10DX19LX7W WHT | 300400016-001 | wireguard, 10"D X 19"L X 7"W, white | 53
| WG 4.5DX19.5LX13W WHT | 300400025-001 | wireguard, 4.5"D X 19.5"L X 13"W, white | 44.9
| WG1DX48LX12W GRYFIXMNT | 300100058-000 | wireguard, 1"D x 48"L x 12"W, gray (BX940LED 4', fixture mounting) | 77
| WG 1.2DX45LX4.9W WHT FIXMNT | 300100130-001 | wireguard, 1.2"D x 45"L x 4.9W, white (BX910LED 4', fixture mounting) | 44.5
Link to Web Page
Link to INDEX